- OZR 203 HOSPITAL BED (Metal Side Rail)

- • Electrical operated backrest and  legrest movement.

• Patient handset.

- • Retracting backrest for advanced comfort, less pressure.

- • Lockable and tuck away metal side rails

- • Easy adjustable knee break position.

- • Removable head and foot boards.

- • 125 mm directional lock castors.

- • Electrostatic painted metal frame.

- • Metal sheet sleep surface

- • Height adjustable  IV pole.

| TECHNICAL SPECIFICATIONS Overall Dimesions: (Max.) | 105 – 216 cm |
| --- | --- |
| Footrest Angle (Max.) | 0° – 35° |
| Height range without Mattress | 42 -78 cm |
| Trendelenburg | 12° |
| Reverse Rrendelenburg | 12° |
| Mattress Platform (ABS) | 90 x 200 cm |
| Castor Diameter | 12,5 cm |
| Safe Working Load | 220 kg |