OZR 5005 HOSPITAL BED WITH COLOUMN

• Electrical operated backrest,  legrest and high/low adjustment.

• Trendelenburg and reverse trendelenburg adjustments electrical operated by coloumn motors.

• Patient handset.

•Nurse Control Unit

• Retracting backrest for advanced comfort, less pressure.

• Auto contour.

• Hygienic design (PP), lockable and tuck away side rails with angle indicator

• Easy adjustable knee break position.

• Removable head and foot boards.

• 150 mm Central lock castors.(150 twin castors are optinal)

• Electrostatic painted metal frame.

• Compact HPL sleep surface

• Height adjustable  IV pole.

• High density Mattress

| TECHNICAL SPECIFICATIONS Overall Dimesions: (Max.) | 105 – 216 cm |
| --- | --- |
| Footrest Angle (Max.) | 0° – 35° |
| Height range without Mattress | 45 -78 cm |
| Trendelenburg | 12° |
| Reverse Rrendelenburg | 12° |
| Mattress Platform (ABS) | 86 x 195 cm |
| Castor Diameter | 12,5 cm |
| Safe Working Load | 250 kg |
| Power In | 230V, 50HZ |

TECHNICAL DATA

OPTIONS