- OZR PLUS MNL3 MANUAL HOSPITAL BED

- • Backrest ,legrest and height  movement with mechanical crank.

• Hygenical design metal collapsible siderails

• Hygenical design plastic easily removable head and foot boards.

- •360° rotating cross brake system

- • 125 mm directional lock castors.

- • Electrostatic powder painted metal frame.

- • Metal sheet sleep surface

- • Height adjustable  IV pole.

- • Accessories space on 4 corners .

| TECHNICAL SPECIFICATIONS Overall Dimesions: (Max.) | 90 – 200 cm |
| --- | --- |
| Height range without Mattress | 45 cm |
| Mattress Platform (ABS) | 86 x 195 cm |
| Castor Diameter | 12,5 cm |
| Safe Working Load | 225 kg |